Tender text

VB20 boiler manifold

WATTS VB20-2 boiler manifold for the HK20/HKM20 pump/mixer component group for the connection of 2 modules. 1" coupling nut connection to pump groups and 1" male thread connection to heating network. All WATTS pump groups and boiler manifolds are of uniform design. EPP insulation shell provides

highly effective heat insulation. Simple installation. Thermal separation of supply and return. For operation in closed heating networks with non-aggressive media, such as water or water-glycol mixes as per VDI (Association of German Engineers) 2035/ÖNORM (Austrian standard) H 5195. Certified to in-house standard WI10077395N.

Materials:

Manifold: Steel pipe with anticorrosive coating

Coupling nut: CW617N

Sealing cap: CW617N

Flat gasket: AFM 34/2"

Heat insulation shell: EPP

Nominal size: DN20

Centre distance: 90 mm

Width: 480 mm

Height: 127 mm (sealing surface to sealing surface)

Depth: 192.6 mm

Weight: 3.8 kg

Weight, including packaging: 4.3 kg

Suitable wall-mount bracket WH-VB20/32 available as accessory (Part no. 10026388)

Type: VB20-2

Part no.: 10077395

EAN: 4051394130305

Manufacturer: Watts Water Technologies

We reserve the right to make technical changes!

Proof of delivery:

Watts Industries Deutschland GmbH

Godramsteiner Hauptstr. 167

76829 Landau

Germany

Phone +49 63 41 96 56-0

Fax +49 63 41 96 56-560

WIDE@wattswater.com

www.wattswater.de